# FLATS AT BALLPARK

GOODYEAR, AZ

## 2025.09.22 100% IFC

General Floorplan

- Adjusted door and window placement to match ARCH backgrounds

Specifications

- LT-20 spec information adjusted

Furniture Plan

- Workroom, Task chair added to hoteling area

- Leasing Lounge, Reduced to one floor plant

Specialty Power

- Laundry, added keynote 1

- Work Room, added keynote 5

RCP

- Fitness, wall sconce at door adjusted placement to accommodate larger door from previous ID 90% plan

- Maintenance, added MEP light fixtures

Elevations

- Fitness, added dimensions for specific mirror placement